## Slide 1
To PC secondary network card (this is the ethernet connection)
“FPGA RS-232” to PC
(this is the minicom window)
Up to four data inputs
Accelerator Trigger
Optional serial to USB connection (Jinglu should have this cable)